# Fire Safety & Emergency Evacuation Drill

Training materials  ·  EHS  ·  Owner: R. Karthik  ·  20 May 2026  ·  v1.0  ·  EN/TE/HI

Fire prevention basics, extinguisher use, and the assembly-point plan for each zone.

#### Prevention first

Keep the two nearest exits from your work area known and clear at all times. Do not store combustibles near electrical panels or heat sources.

#### If you discover a fire

- Raise the alarm — break the nearest call point.

- If trained and the fire is small, use the correct extinguisher (PASS: Pull, Aim, Squeeze, Sweep).

- If not, evacuate immediately.

#### Assembly points

| Zone | Assembly area |
| --- | --- |
| Compressor Line | Area-A, near Gate 2 |
| Paint Shop | Area-C, behind the canteen |
| Warehouse | Area-B |

#### During evacuation

- Stop work, switch off your machine, walk — do not run.

- Do not use lifts. Help visitors and new joiners find the route.

- Report to your supervisor for roll-call; do not re-enter until the all-clear.

Evacuation drills are held monthly and announced as notices.

Karya Vaani · Knowledge Center · Customer Plant — controlled document, v1.0